## فواتير التوريد
عقد 10668
مقايسة توريدات بني سويف
[12 empty] | فاتورة رقم 1 |  | عقد 12959
S.N | ITEM | REFERENCE | Part # | Qty. | brand | Unit price | Total Price | المورد | المتبقي | ما تم عمل فواتير توريد له | المتبقي للفوترة | [5 empty] | فاتورة رقم 1 |  | فاتورة رقم 2 |  | فاتورة رقم 3 |  | فاتورة رقم 4 |  | ما تم توريده ولم يفوتر | المتبقي من التوريد
1 | Access Switches 24 Ports PoE | 2.5&10G Bundle (12*100M/1G/2.5G, 12*100M/1G/2.5G/5G/10G Ethernet ports, Optional RTU/ upgrade to 5/10G, 4*25GE + 2*40GE or 2*100GE, 1*expansion slot, PoE++,1*1000W AC power) | S5732-H24UM2CC | 169 | Huawei | 61000 | 10309000 | 169 | 0 | 169 | 0 | 161 | 9821000 | 8 | 125806 | 1006448 | 7 | 880642 |  | 0 | 1 | 125806 |  | 0 | 0 | 0
2 | Access Switches 48 Ports PoE | 2.5&10G Bundle(36*100M/1G/2.5G, 12*100M/1G/2.5G/5G/10G Ethernet ports, Optional RTU upgrade to 5/10G, 4*25GE + 2*40GE or 2*100GE, 1*expansion slot, PoE++1*1000W AC power | S5732-H48UM2CC | 179 | Huawei | 77000 | 13783000 | 179 | 0 | 179 | 0 | 160 | 12320000 | 19 | 158804 | 3017276 | 19 | 3017276 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Aggregation Switch 48 Port 1/10G | 48*10GE SFP+ ports, 6*40GE QSFP28 ports, optional license for upgrade to 6*100GE QSFP28, without power module | S6730-H48X6C | 22 | Huawei | 230000 | 5060000 | 22 | 0 | 22 | 0 | 20 | 4600000 | 2 | 474351 | 948702 |  | 0 | 2 | 948702 | 0 | 0 | 0 | 0 | 0 | 0
4 | Aggregation Switch 24 Port 1/10G | (24*10GE SFP+ ports, 6*40GE QSFP28 ports, optional license for upgrade to 6*100GE QSFP28, without power module) | S6730-H24X6C | 19 | Huawei | 215000 | 4085000 | 19 | 0 | 19 | 0 | 17 | 3655000 | 2 | 443415 | 886830 |  | 0 | 2 | 886830 | 0 | 0 | 0 | 0 | 0 | 0
5 | IP Class B | JJ139 IP PHONE |  | 1805 | AVAYA | 4000 | 7220000 | 0 | 1805 | 0 | 0 | 0 | 0 | 1805 | 6500 | 11732500 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 11732500
6 | IP Class A | AVAYA VANTAGE K155 WITH CAMERA WITH WIRELESS |  | 30 | AVAYA | 17000 | 510000 | 0 | 30 | 0 | 0 | 0 | 0 | 30 | 35060 | 1051800 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 1051800
7 | InDoor Access point | AirEngine5760-51 11ax indoor,2+4 dual bands,smart antenna,USB,IoT Slot,BLE,Optional RTU upgrade to 4+4/2+2+4/2+4+Scan | AirEngine5760-51 | 1028 | Huawei | 6000 | 6168000 | 1028 | 0 | 1028 | 0 | 1018 | 6108000 | 10 | 12374 | 123740 |  | 0 | 10 | 123740 | 0 | 0 | 0 | 0 | 0 | 0
8 | Outdoor Access Point | AirEngine6760R-51(11ax outdoor,4+4 dual bands,smart antenna,BLE) | AirEngine6760R-51 | 70 | Huawei | 10000 | 700000 | 70 | 0 | 70 | 0 | 0 | 0 | 70 | 20623 | 1443610 |  | 0 | 0 | 0 | 70 | 1443610 | 0 | 0 | 0 | 0
9 | Access Switches 8 Ports | (8*10/100/1000BASE-T ports, 4*10GE SFP+ ports, PoE+, AC power | S5735-L8P4X-IA1 | 7 | Huawei | 10000 | 70000 | 7 | 0 | 7 | 0 | 0 | 0 | 7 | 20623 | 144361 |  | 0 | 7 | 144361 | 0 | 0 | 0 | 0 | 0 | 0
10 |  | 2288X V5 128G Configuration(2*16Core/2.3GHz CPU,4*32G Memory,4*1200GB SAS HDD,Raid(2G cache)+SuperCap,4*2 GE+2*2 10GE SFP+,2*900W AC,Rail) | H22X-05-NCEE-128-2 | 3 | Huawei | 460000 | 1380000 | 0 | 3 | 0 | 0 | 0 | 0 | 3 | 948703 | 2846109 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 2846109
11 | core switch | S12700E-4 Assembly Chassis | ET1BS12704E0 | 4 | Huawei | 390000 | 1560000 | 0 | 4 | 0 | 0 | 0 | 0 | 4 | 804335 | 3217340 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 3217340
12 | DC Aggregation Switch 48 Port | (48*10GE SFP+ ports, 6*40GE QSFP28 ports, optional license for upgrade to 6*100GE QSFP28, without power module) | S6730-H48X6C | 4 | Huawei | 115000 | 460000 | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 237175 | 948700 |  | 0 |  | 0 | 4 | 948700 | 0 | 0 | 0 | 0
13 | Wireless Controller | AirEngine9700-M1 mainframe (12*GE ports, 12*10GE SFP+ ports, 2*40GE QSFP+ ports, no power) | AirEngine9700-M1 | 2 | Huawei | 85000 | 170000 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 175303 | 350606 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 350606
14 | avaya | AURA R10 BASIC IPT NEW SOFTWARE LIC: NU;CU;SR |  | 2 | AVAYA | 320000 | 640000 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 659967 | 1319934 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 1319934
15 | Voice Gateway | 120A CSU CABLE 50 FEET RHS |  | 2 | AVAYA | 180000 | 360000 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 371231 | 742462 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 742462
16 | Video Conference | Real Presence Clariti - Concurrent Meeting License, Perpetual (Maintenance Contract Required) (Qty 1-4 only) basic |  | 2 | بولى كو | 330000 | 660000 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 680591 | 1361182 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 1361182
17 |  | POLY STUDIO X70 & TC8 Integrated Dual Cameras 4K+ Video System for Conf/Collab/Wireless Pres Sys: EPTZ auto-track Cam with shutters, Codec, Stereo Spkrphone,Wall Mount Kit;Cables:2 HDMI 2m,1 CAT5E LAN 15 ft;Pwr:UK-Type G, BS 1363 |  | 2 | بولى كو | 310000 | 620000 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 639343 | 1278686 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 1278686
18 |  | CMS R19 ADMIN SYNC NEW LIC:DS |  | 1 | AVAYA | 66000 | 66000 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 136118 | 136118 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 136118
19 | VxRail Compete 3 | VxRail Compete 3 |  | 1 | Dell | 2600000 | 2600000 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 4300000 | 4300000 |  | 0 |  | 0 | 1 | 4300000 | 0 | 0 | 0 | 0
20 | nce | Analyzer Hardware SN03(2*20Core/2.1GHz CPU,8*32G Memory,12*1200GB SAS HDD, Raid Card (2G cache),2*4*GE+3*2*10GE,2*900W AC | H22X-05-CI256G04 | 1 | Huawei | 155000 | 155000 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 319671 | 319671 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 319671
21 | Switch Spine 64 port 40 | CE8850-64CQ-EI Switch (64-Port 100GE QSFP28,2*AC Power Module,3*FAN Box, Port-side Intake) | CE8850-EI-B-B0B | 2 | Huawei | 90000 | 180000 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 185615 | 371230 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 371230
22 | Core Switch copper leaf 48 copper port 1/10G , Fiber 6 port 40/100G | CE6881-48T6CQ-B switch(48*10GE RJ45,6*100GE QSFP28,2*AC power modules,4*fan modules,port-side intake) | CE6881-48T6CQ-B | 2 | Huawei | 130000 | 260000 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 268111 | 536222 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 536222
23 | Core Switch fiber leaf 48 port fiber 1/10/25G and 6 port fiber 40/100G | N1-CloudFabric Advanced SW License for CloudEngine 6800 | CE6863-48S6CQ-B | 2 | Huawei | 130000 | 260000 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 268111 | 536222 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 536222
24 |  |  |  | 1 | Dell | 104020 | 104020 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 214530 | 214530 |  | 0 |  | 0 | 1 | 214530 | 0 | 0 | 0 | 0
25 |  | Veeam Backup & Replication Enterprise Plus. 1 year of Production (24/7) Support is included. Education sector |  | 1 | فيم | 285000 | 285000 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 587783 | 587783 |  | 0 |  | 0 |  | 0 | 1 | 587783 | 0 | 0
26 | DC Firewal | PA-5450 Base AC Hardware Bundle. Includes Chassis, 2xAC power supplies, 4xFans, Base Card, Management Processing Card, and Networking Card, includes 4 post rack mount kit |  | 2 | بالوالتو | 1700000 | 3400000 | 2 | 0 | 2 | 0 | 2 | 3400000 | 2 | 3506078 | 7012156 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
27 |  | 4 x 40GE QSFP+ slots , 20 x 10GE SFP+ slots (including 18x ports, 2x HA ports), 14 x GE RJ45 ports (including 12 x ports, 2 x management ports), SPU NP6 and CP9 hardware accelerated, and dual AC power supplies, with 2x 1TB SSD onboard storage, Hardware plus 24x7 FortiCare and FortiGuard Unified Threat Protection (UTP) |  | 2 | فورتى نت | 230000 | 460000 | 2 | 0 | 2 | 0 | 0 | 0 | 2 | 474351 | 948702 |  | 0 |  | 0 |  | 0 | 2 | 948702 | 0 | 0
28 |  | AR6280 integrated chassis, 1*SRU slot, 4*SIC slot, 2*WSIC slot, 2*XSIC slot, 2*power slot | AR6280 | 2 | Huawei | 70000 | 140000 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 144367 | 288734 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 288734
29 |  | FortiClient EPP/APT Subscription for 500 endpoints. Includes VPN/ZTNA Agent, EPP/APT with 24x7 FortiCare. |  | 150 | فورتى نت | 2000 | 300000 | 150 | 0 | 150 | 0 | 0 | 0 | 150 | 4124 | 618600 |  | 0 |  | 0 |  | 0 | 150 | 618600 | 0 | 0
30 | Sandbox Scan 5000 Files per day | Sandboxing Appliance - 4 x GE RJ45, 4 x GE SFP slots, redundant PSU optional, 1 Win10, 1 Win7, 1 Office16. Upgradable to max 14 VMs. |  | 1 | فورتى نت | 130000 | 130000 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 268111 | 268111 |  | 0 |  | 0 |  | 0 | 1 | 268111 | 0 | 0
31 | سيسكو | FortiProxy2000E, 2x GbE RJ45, 2 x GbE RJ45 Bypass, 2 x GbE SFP, 2 x 10GbE SFP+, CP9 Hardware Accelerated (2 x CP9 Chips), 8TB (2TB x 4) Storage, Dual AC Power Supplies |  | 2 | فورتى نت | 135000 | 270000 | 2 | 0 | 2 | 0 | 0 | 0 | 2 | 278423 | 556846 |  | 0 |  | 0 |  | 0 | 2 | 556846 | 0 | 0
32 |  | FortiSIEM All-in-one Hardware Appliance FSM-2000F. Supports up to 15,000 EPS. Does not include any device or EPS licenses and must be purchased separately |  | 1 | فورتى نت | 415000 | 415000 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 855895 | 855895 |  | 0 |  | 0 |  | 0 | 1 | 855895 | 0 | 0
33 |  | Email Security Appliance - 2 x GE SFP slots, 4 x GE RJ45 ports, dual AC power supplies, 4TB Default Storage, Hardware plus 24x7 FortiCare and FortiGuard Base Bundle QTY |  | 2 | فورتى نت | 88000 | 176000 | 2 | 0 | 2 | 0 | 0 | 0 | 2 | 181491 | 362982 |  | 0 |  | 0 |  | 0 | 2 | 362982 | 0 | 0
34 |  | Application Delivery Controller - 8 x 10GE SFP+ ports, 8 x GE SFP ports, 8 x GE RJ45 ports, 2 x GE RJ45 management port, 1x 240G SSD, dual AC power supplies, Hardware plus 24x7 FortiCare and FortiADC Standard Bundle |  | 2 | فورتى نت | 585000 | 1170000 | 2 | 0 | 2 | 0 | 0 | 0 | 2 | 1206503 | 2413006 |  | 0 |  | 0 |  | 0 | 2 | 2413006 | 0 | 0
35 |  | Data Center Infrastructure Management System (DCIM)" iManager NetEco6000 |  | 1 | Huawei | 3000000 | 3000000 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3739643 | 3739643 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 3739643
| UTP CAT6A | 3091B WHT C6A 4/23 U/UTP W1000 | 760107318 | 955 | Comscpe | 6500 | 6207500 | 955 | 0 | 955 | 0 | 955 | 6207500 | 0 | 1546 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
36 | patch panel | FlexiMAX U/UTP High Density Patch Panel | 760184507 | 351 | Comscpe | 750 | 263250 | 351 | 0 | 351 | 0 | 180 | 135000 | 171 | 1546 | 264366 | 171 | 264366 |  | 0 |  | 0 |  | 0 | 0 | 0
37 | OUTLET-Black | MGS600 OUTLET-Black | 760092361 | 8424 | Comscpe | 150 | 1263600 | 8424 | 0 | 8424 | 0 | 4000 | 600000 | 4424 | 309 | 1367016 | 4424 | 1367016 |  | 0 |  | 0 |  | 0 | 0 | 0
38 | organizer | U Patchcord Management | 760038240 | 351 | Comscpe | 350 | 122850 | 351 | 0 | 351 | 0 | 200 | 70000 | 151 | 721 | 108871 |  | 0 | 151 | 108871 |  | 0 |  | 0 | 0 | 0
39 | patch cord utp 1m | Patch Cord Cat6A 3FT | CPCSSZ2-03F003 | 7543 | Comscpe | 125 | 942875 | 7543 | 0 | 7543 | 0 | 1000 | 125000 | 6543 | 257 | 1681551 | 6543 | 1681551 |  | 0 |  | 0 |  | 0 | 0 | 0
40 | facepalte dual | Faceplate, 2-port, White | 108168469 | 1789 | Comscpe | 50 | 89450 | 995 | 794 | 995 | 0 | 50 | 2500 | 1739 | 103 | 179117 |  | 0 | 945 | 97335 |  | 0 |  | 0 |  | 81782
| OUTLET-white | MGS600 OUTLET-WHITE | 760092429 | 3578 | Comscpe | 170 | 608260 | 3578 | 0 | 3578 | 0 | 3578 | 608260 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
41 | patch cord utp 3m | Patch Cord Cat6A 10FT | CPCSSZ2-03F010 | 3578 | Comscpe | 170 | 608260 | 3578 | 0 | 3578 | 0 | 1000 | 170000 | 2578 | 350 | 902300 |  | 0 | 2578 | 902300 |  | 0 |  | 0 |  | 0
42 | facepalte dual - floorbox - | FACEPLATE, 2PORT | 760246283 | 229 | Comscpe | 45 | 10305 | 229 | 0 | 229 | 0 | 50 | 2250 | 179 | 92 | 16468 |  | 0 | 179 | 16468 |  | 0 |  | 0 | 0 | 0
44 | OUTLET-white - floorbox - | MGS600 OUTLET-WHITE | 760092429 | 458 | Comscpe | 160 | 73280 | 458 | 0 | 458 | 0 | 0 | 0 | 458 | 329 | 150682 | 458 | 150682 |  | 0 |  | 0 |  | 0 | 0 | 0
| patch cord utp 3m - floorbox - | Patch Cord Cat6A 10FT | CPCSSZ2-03F010 | 458 | Comscpe | 165 | 75570 | 458 | 0 | 458 | 0 | 0 | 0 | 458 | 350 | 160300 |  | 0 | 458 | 160300 |  | 0 |  | 0 | 0 | 0
43 | faceplate RJ-45 | M10CF Faceplate, 1-port, White | 108333014 | 3500 | Comscpe | 50 | 175000 | 3500 | 0 | 3500 | 0 | 3000 | 150000 | 500 | 103 | 51500 |  | 0 | 500 | 51500 |  | 0 |  | 0 | 0 | 0
45 | OUTLET-white - rj 45 - | MGS600 OUTLET-WHITE | 760092429 | 3500 | Comscpe | 165 | 577500 | 3500 | 0 | 3500 | 0 | 0 | 0 | 3500 | 340 | 1190000 | 3500 | 1190000 |  | 0 |  | 0 |  | 0 | 0 | 0
| patch cord utp 3m - RJ-45 - | Patch Cord Cat6A 10FT | CPCSSZ2-03F010 | 3500 | Comscpe | 170 | 595000 | 3500 | 0 | 3500 | 0 | 0 | 0 | 3500 | 350 | 1225000 |  | 0 | 3500 | 1225000 |  | 0 |  | 0 | 0 | 0
46 | odf 48 port | Fiber Optic Panel, 1 U, 19 in, unloaded for holding up to 24 LC/UPC duplex adapters, black | 1671000-8 | 27 | Comscpe | 1500 | 40500 | 27 | 0 | 27 | 0 | 0 | 0 | 27 | 3093 | 83511 |  | 0 | 27 | 83511 |  | 0 |  | 0 | 0 | 0
47 | caset | Universal Splice Tray FOSC-500 Fiber Optic Splice Tray Kit, SMOUV | 1671281-1 | 27 | Comscpe | 230 | 6210 | 27 | 0 | 27 | 0 | 0 | 0 | 27 | 474 | 12798 |  | 0 | 27 | 12798 |  | 0 |  | 0 | 0 | 0
48 | organizer | 1U Patchcord Management | 760038240 | 27 | Comscpe | 370 | 9990 | 27 | 0 | 27 | 0 | 0 | 0 | 27 | 763 | 20601 |  | 0 | 27 | 20601 |  | 0 |  | 0 | 0 | 0
49 | coupler - singlemode - | Fiber Optic Duplex Adapter, Singlemode , LC/UPC, ceramic sleeve, blue | 6457567-4 | 324 | Comscpe | 60 | 19440 | 324 | 0 | 324 | 0 | 0 | 0 | 324 | 123 | 39852 |  | 0 | 324 | 39852 |  | 0 |  | 0 | 0 | 0
50 | Pigtail singlemode | Fiber Optic Pigtail, Simplex, Singlemode, LC/UPC to Stub, 2 m | 6536880-2 | 648 | Comscpe | 65 | 42120 | 648 | 0 | 648 | 0 | 0 | 0 | 648 | 134 | 86832 | 648 | 86832 |  | 0 |  | 0 |  | 0 | 0 | 0
51 | Fiber Patch Cord - singlemode - | Fiber Patch Cord LC-LC 10FT | FFWLCLC42-JXF010 | 324 | Comscpe | 390 | 126360 | 324 | 0 | 324 | 0 | 0 | 0 | 324 | 804 | 260496 |  | 0 | 324 | 260496 |  | 0 |  | 0 | 0 | 0
52 | odf 24 port | Fiber Optic Panel, 1 U, 19 in, unloaded for holding up to 24 LC/UPC duplex adapters, black | 1671000-8 | 176 | Comscpe | 1500 | 264000 | 176 | 0 | 176 | 0 | 0 | 0 | 176 | 3093 | 544368 |  | 0 | 176 | 544368 |  | 0 |  | 0 | 0 | 0
53 | caset | Universal Splice Tray FOSC-500 Fiber Optic Splice Tray Kit, SMOUV | 1671281-1 | 176 | Comscpe | 220 | 38720 | 176 | 0 | 176 | 0 | 0 | 0 | 176 | 453 | 79728 |  | 0 | 176 | 79728 |  | 0 |  | 0 | 0 | 0
54 | organizer | 1U Patchcord Management | 760038240 | 176 | Comscpe | 350 | 61600 | 176 | 0 | 176 | 0 | 0 | 0 | 176 | 721 | 126896 |  | 0 | 176 | 126896 |  | 0 |  | 0 | 0 | 0
55 | coupler - multimode - | Fiber Optic Insert , LC, duplex,ceramic sleeve,flsnged, multimode, aqua | 1-6457567-6 | 2376 | Comscpe | 50 | 118800 | 1000 | 1376 | 1000 | 0 | 0 | 0 | 2376 | 103 | 244728 |  | 0 | 1000 | 103000 |  | 0 |  | 0 | 0 | 141728
56 | Pigtail multimode | Fiber Optic Pigtail, Simplex, Multimode, LC/UPC to Stub, 2 m | 2160042-2 | 4752 | Comscpe | 85 | 403920 | 4752 | 0 | 4752 | 0 | 0 | 0 | 4752 | 175 | 831600 |  | 0 | 4752 | 831600 |  | 0 |  | 0 | 0 | 0
57 | Fiber Patch Cord - multimode - | Fiber Patch Cord LC-LC 10FT | FFXLCLC42-MXF010 | 2376 | Comscpe | 400 | 950400 | 2376 | 0 | 2376 | 0 | 0 | 0 | 2376 | 824 | 1957824 | 2376 | 1957824 |  | 0 |  | 0 |  | 0 | 0 | 0
| rack 42 u | Rack 42U |  | 14 | ACS-CC | 55000 | 770000 | 14 | 0 | 14 | 0 | 14 | 770000 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
58 | rack 26 u | Rack 26U |  | 6 | ACS-CC | 16000 | 96000 | 6 | 0 | 6 | 0 | 0 | 0 | 6 | 33994 | 203964 |  | 0 | 6 | 203964 |  | 0 |  | 0 | 0 | 0
59 | rack 18 u | Rack 20U |  | 42 | ACS-CC | 12000 | 504000 | 42 | 0 | 42 | 0 | 25 | 300000 | 17 | 24976 | 424592 |  | 0 |  | 0 | 17 | 424592 | 0 | 0 | 0 | 0
60 | Rack 12U | Rack 12U |  | 58 | ACS-CC | 10000 | 580000 | 25 | 33 | 25 | 0 | 0 | 0 | 58 | 20860 | 1209880 |  | 0 |  | 0 | 25 | 521500 | 0 | 0 | 0 | 688380
61 | Rack 9U | Rack 9U |  | 54 | ACS-CC | 9500 | 513000 | 0 | 54 | 0 | 0 | 0 | 0 | 54 | 19642 | 1060668 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 1060668
62 | Rack 7U | Rack 7U |  | 10 | ACS-CC | 9000 | 90000 | 0 | 10 | 0 | 0 | 0 | 0 | 10 | 18641 | 186410 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 186410
63 | 8 core | Fiber Optic Cable, 12-fiber, OM4, ULSZH, armoured loose tube, gel-filled | 760242754 | 10000 | Comscpe | 90 | 900000 | 8644 | 1356 | 8644 | 0 | 0 | 0 | 10000 | 185 | 1850000 |  | 0 | 8644 | 1599140 |  | 0 |  | 0 | 0 | 250860
64 | 12 core | TeraSPEED® Single Jacket/Single Armor, Gel-Free, Outdoor Stranded Loose Tube Cable | 760053280 | 2500 | Comscpe | 40 | 100000 | 2500 | 0 | 2500 | 0 | 0 | 0 | 2500 | 82 | 205000 |  | 0 | 2500 | 205000 |  | 0 |  | 0 | 0 | 0
65 | 96 core | TeraSPEED® Single Jacket/Single Armor, Gel-Free, Outdoor Stranded Loose Tube | 760053314 | 5000 | Comscpe | 50 | 250000 | 5000 | 0 | 5000 | 0 | 0 | 0 | 5000 | 103 | 515000 |  | 0 | 5000 | 515000 |  | 0 |  | 0 | 0 | 0
[7 empty] | 84623780 | [5 empty] | 49044510 |  |  | 73728656 |  | 10596189 |  | 9291361 |  | 7978738 |  | 6611925 | 0 | 32238287
13624081

## Sheet1
S.N | ITEM | REFERENCE | Part # | brand | Qty. | المورد | T/F
1 | Access Switches 24 Ports PoE | 2.5&10G Bundle (12*100M/1G/2.5G, 12*100M/1G/2.5G/5G/10G Ethernet ports, Optional RTU/ upgrade to 5/10G, 4*25GE + 2*40GE or 2*100GE, 1*expansion slot, PoE++,1*1000W AC power) | S5732-H24UM2CC | Huawei | 169 | 169 | TRUE
2 | Access Switches 48 Ports PoE | 2.5&10G Bundle(36*100M/1G/2.5G, 12*100M/1G/2.5G/5G/10G Ethernet ports, Optional RTU upgrade to 5/10G, 4*25GE + 2*40GE or 2*100GE, 1*expansion slot, PoE++1*1000W AC power | S5732-H48UM2CC | Huawei | 179 | 179 | TRUE
3 | Aggregation Switch 48 Port 1/10G | 48*10GE SFP+ ports, 6*40GE QSFP28 ports, optional license for upgrade to 6*100GE QSFP28, without power module | S6730-H48X6C | Huawei | 22 | 22 | TRUE
4 | Aggregation Switch 24 Port 1/10G | (24*10GE SFP+ ports, 6*40GE QSFP28 ports, optional license for upgrade to 6*100GE QSFP28, without power module) | S6730-H24X6C | Huawei | 19 | 19 | TRUE
5 | InDoor Access point | AirEngine5760-51 11ax indoor,2+4 dual bands,smart antenna,USB,IoT Slot,BLE,Optional RTU upgrade to 4+4/2+2+4/2+4+Scan | AirEngine5760-51 | Huawei | 1028 | 1028 | TRUE
6 | Outdoor Access Point | AirEngine6760R-51(11ax outdoor,4+4 dual bands,smart antenna,BLE) | AirEngine6760R-51 | Huawei | 70 | 70 | TRUE
7 | Access Switches 8 Ports | (8*10/100/1000BASE-T ports, 4*10GE SFP+ ports, PoE+, AC power | S5735-L8P4X-IA1 | Huawei | 7 | 7 | TRUE
8 | DC Aggregation Switch 48 Port | (48*10GE SFP+ ports, 6*40GE QSFP28 ports, optional license for upgrade to 6*100GE QSFP28, without power module) | S6730-H48X6C | Huawei | 4 | 4 | TRUE
9 | NAC | 2288X V5 128G Configuration(2*16Core/2.3GHz CPU,4*32G Memory,4*1200GB SAS HDD,Raid(2G cache)+SuperCap,4*2 GE+2*2 10GE SFP+,2*900W AC,Rail) | H22X-05-NCEE-128-2 | Huawei | 3 | 0 | FALSE
10 | core switch | S12700E-4 Assembly Chassis | ET1BS12704E0 | Huawei | 4 | 0 | FALSE
11 | Wireless Controller | AirEngine9700-M1 mainframe (12*GE ports, 12*10GE SFP+ ports, 2*40GE QSFP+ ports, no power) | AirEngine9700-M1 | Huawei | 2 | 0 | FALSE
12 | nce | Analyzer Hardware SN03(2*20Core/2.1GHz CPU,8*32G Memory,12*1200GB SAS HDD, Raid Card (2G cache),2*4*GE+3*2*10GE,2*900W AC | H22X-05-CI256G04 | Huawei | 1 | 0 | FALSE
13 | Switch Spine 64 port 40 | CE8850-64CQ-EI Switch (64-Port 100GE QSFP28,2*AC Power Module,3*FAN Box, Port-side Intake) | CE8850-EI-B-B0B | Huawei | 2 | 0 | FALSE
14 | Core Switch copper leaf 48 copper port 1/10G , Fiber 6 port 40/100G | CE6881-48T6CQ-B switch(48*10GE RJ45,6*100GE QSFP28,2*AC power modules,4*fan modules,port-side intake) | CE6881-48T6CQ-B | Huawei | 2 | 0 | FALSE
15 | Core Switch fiber leaf 48 port fiber 1/10/25G and 6 port fiber 40/100G | N1-CloudFabric Advanced SW License for CloudEngine 6800 | CE6863-48S6CQ-B | Huawei | 2 | 0 | FALSE
16 | Router | AR6280 integrated chassis, 1*SRU slot, 4*SIC slot, 2*WSIC slot, 2*XSIC slot, 2*power slot | AR6280 | Huawei | 2 | 0 | FALSE
17 | Data Center | Data Center Infrastructure Management System (DCIM)" iManager NetEco6000 | Data Center | Huawei | 1 | 0 | FALSE